Site Access and Safety Protocol

Category: Safety

Updated: 2026-01-09

Pre-visit requirements, PPE matrix, and permit controls.

Pre-Visit Requirements

Confirm site contact, access window, RAMS status, and required permits before attendance.

PPE Matrix

Minimum PPE includes safety footwear, eye protection, and task-specific equipment as required

by site risk profile.

Permit Controls

No high-risk works commence until permit-to-work is approved and logged by authorised

personnel.

Isolation Procedure

Follow lock-off and test-for-dead sequence before intervention on energised systems.

Sign-off

Complete safety sign-off, update records, and report any residual hazards before leaving site.

Contact

T: 01202 028 869

E: info@apluselectrical.co.uk